Аланинаминотрансфераза (глутамат-пируваттрансаминаза) ФС, биреагент, кинетический IFCC метод.

[image: image1.jpg]| PRESTIGE 24i

Item Name 30 [ALT-
Input range -9999.99 - 9999.99
DATA INFORMATION CALIBRATION
- TYPE  [Factor -
UNITS [on
DECMALS i FACTOR | 4200
ANALYSIS
TYPE RaTe =
Main W.length 1 [s0 - e T
Sub Wilength2  [405 ~ LOW | HIGH  LOW | HIGH
Serum | [0 1 o £l
METHOD IFCC — Tl ‘
Plasma
CORR. csE [ f
SLOBE INTER Diaiysis ([ [ [ [
Y= K&l p Lok —
other | [ f
Page : 1 [[NextPage |[ save | [ Retun





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]ALT-D

Item Name. 30

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND Single = Double READ ABSORBANCE LIMIT
—— START || END
MAIN 37 Fi o7
SAMPLE |10 sus || ,L‘:)va e
REAGENTIVOL [0 | pl
REAGENTZ 15
ENDPOINT LIMIT; [0
LINEAR CHECK(%)[15
Third “ OFF on
RiBlank | * Water-Blank (* R1.Blank1 uent |~ 9901 100012
TR PROZONE CHECK
START | END. LIMITCH)
O LEVEL POINT [1 FIRST
span 3 = SECOND [ | “tow g
THRD [T [ “low  Hin
Page @ 2 Print Prev Page | [ NextPage |[ sSave | [ Retumn





[image: image3.jpg]Item Name 30 ALT-D

Auto Rerun SW Auto Rerun Condition (Absorhance)
Cr GO Absorbance Range

Lower “on o

g - ==

Auto Rerun Range (Resul) — on O B

on o | Con o

Lower Higher Prozone Range on & off
Serum I I
Urine | [ [
Plasma | [ [
CSF [ [
Dialysis | || [
other | [ [

Page : 3 PrevPage | [ Save | [ Retumn





