Щелочная фосфатаза ФС, биреагент, кинетический DGKC метод.

[image: image1.jpg]Item Name 18| [AIEE
Input range -9999.99 - 9999.99
DATA INFORMATION CALIBRATION
TYPE  [Factor |
UNITS [un
(e L [ — FACTOR 3813
ANALYSIS
TYPE [raTe |
Main W.Length 1 [s05 - HORMAL RN e R
Sub Wilength2 [so0 - LOW | HIGH  LOW | HIGH
. Serum | [0 258 ] 258
METHOD |DiaSys DGKC [
Plasma
CORR, T | e e
= SLOPE X+ ’n'"l Dialysis
il Other
Page : 1 [[NextPage |[ save | [ Retun





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]ltem Name 18 ALPD
Select Single for single reagent, Double for double reagents system
ASPIRATION DATA PROCESS
KIND Single * Double READ ABSORBANCE LIMIT
— START || END
MAIN (35 15 Low fo
SAMPLE [ !
| SUB f HGH 2
REAGENTA VOL [700 nl
REAGENTZ 15
EacToR ENDPOINT LIMIT [0
Blank correction 1 LINEAR CHECK@[15
Third “ OFF on
RiBlank | * Water.Blank ( R1.Blank1 Diluent |~ 990i1 100012
G PROZONE CHECK
START | END LIMITCh)
0 LEVEL POINT [1 FIRST [
span B = SECOND, [ | “tow [ Hun
THIRD [ | f ~ Slow  Hgh
Page : 2 Print Prev Page | [ NextPage |[  Save | [ Retun





Щелочная фосфатаза ALP

[image: image3.jpg]Item Name 18 ALPD

Auto Rerun SW Auto Rerun Condition (Absorhance)
Cr GO Absorbance Range
Lower on © of
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — TS
on o | Con o
Lower Higher Prozone Range on & off
Serum I I
Urine | [ [
Plasma | [ [
CSF [ [
Dialysis | || [
other | [ [

Page : 3 PrevPage | [ Save | [ Retumn





