Антистрептолизин О ФС, иммунотурбидиметрическое определение, биреагентная схема.

[image: image1.jpg]PRESTIGE 24
Item Name 10 [asoD

Input range -9999.99 - 9999.99

DATA INFORMATION

UNITS 1Ufmi
DECIMALS o

ANALYSIS

TYPE Rate

Main W.Length 1 [s00

Sub W.length 2 =
METHOD DiaSys Immuno

CORR.
SLOPE INTER

¥El - EE

CALIBRATION
TWPE  [lestz -]
STANDARD
o om0
w100 w0
w200 w

NORMAL RANGF

MALE FEMALE
LOW | HIGH  LOW | HIGH

Serum | 0 f200 o [200
Urine.
Plasma

3 || I I

Dialysis
Other

[[NextPage |[ save | [ Retun





Для калибровки рекомендуется использовать набор калибраторов TruCal ASO производства компании DiaSys.

Концентрации калибраторов указаны во вкладыше к набору калибраторов.

Контроль правильности измерений рекомендуется проводить по контрольным сывороткам TruLab Protein, уровень 1 и уровень 2.

[image: image2.jpg]Item Name 10 AS0-D

Inputrange 1 - 54

ASPIRATION DATA PROCESS
KIND_ | Single © Double READ ABSORBANCE LIMIT
— START || END
MAIN 35 54 I
SAMPLE  [3 5T ;:)va 0
REAGENTIVOL 250 |yl [
REAGENTZ [15
EacToR ENDPOINT LIMIT [0
Blank correction 1 LINEAR CHECK@®fO0
Third “ OFF on
RiBlank | * Water.Blank ( R1.Blank1 Diluent | oot 100012
T PROZONE CHECK
START | END LIMITCh)
0 LEVEL POINT [1 FIRST [
spaN. B - SECOND, [ “low g
THIRD [ T ~ Slow  Hgh
Page : 2 Print Prev Page | [ NextPage |[  Save | [ Retun





[image: image3.jpg]Item Name 10 AS0-D

Auto Rerun SW. Auto Rerun Condition (Absorhance)
© SOn Absorbance Range
Lower on © ofr
g i
Auto Rerun Range (Resull —_— o
on o |~ on o

Lower Higher Prozone Range on & off
Seum | | [ [
Urine | [ [
Plasma | [ [
CSF [ [
Dialysis | || [
other | [ [

Page : 3 PrevPage | [ Save | [ Retun





