Аспартатаминотрансфераза (глутамат-оксалоацетаттрансаминаза) ФС, биреагент, кинетический IFCC метод.

[image: image1.jpg]Item Name 31 [ASTD
Input range -9999.99 - 9999.99
DATA INFORMATION CALIBRATION
TYPE  [Factor |
UNITS un
DECMALS i FACTOR 4200
ANALYSIS
TYPE RaTe =
Main W.length 1 [340 ~ ORI AN FEMALE
Sub Wilengthz 405 LOW | HIGH  LOW | HIGH
_ Serum | o 35 o 31
METHOD [DiaSys IFCC T i
Plasma [
CORR, S [ e e
= SLOPE X+ ’n'"l Dialysis [
- Other [
Page @ 1 [NextPage |[ save | [ Retumn





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]AST-D

Item Name. 31

Select Single for single reagent, Double for double reagents system

DATA PROCESS

ASPIRATION
KIND Single * Double READ ABSORBANCE LIMIT
— START || END
MAIN (/37 m ow oz
SAMPLE  [10 sug | o 0
REAGENTIVOL [0 | pl
REAGENTZ 15
EACTOR ENDPOINT LIMIT 0
Blank correction [1 LINEAR CHECKEATS
Third Mix. | = OFF on
ution
Ri/Blank |  Water.Blank ( R1-Blank1 Diluent | 9901 100012
e PROZONE CHECK
START | END LIMITCH)
0 LEVEL POINT [1 FIRST [
span B SECOND, T Flw
THRD [ [ [ | “Llew  Huh
Page : 2 Print Prev Page | [ NextPage |[  Save | [ Retumn





[image: image3.jpg]Item Name 3 ASTD
Auto Rerun SW. Auto Rerun Condition (Absorbance)
Cr 9L Absorbance Range
Lower “on C o
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — PR
on o |~ on o
T Higher Prozone Range on © ofr
Serum || [ [
Urine. [ g |
Plasma | [
[ [ g |
Dialysis | [
Other [ g |
PrevPage | [ Save | [ Retun





