Микроальбумин ФС, иммунотурбидиметрическое определение, биреагент.

[image: image1.jpg]ftemName [ 4 [man

Input range -9999.99 - 9999.99

DATA INFORMATION

CALIBRATION

TYPE  [Logitz E

UNITS mgt
DECIMALS lo STANDARD
# o oo
ANALYSIS 3 100 #
# 1200 #
TYPE |END -
Main W.Length 1[5 - RN AL AN FEMALE
Sub Wiength2 [100 E Low | HIGH | | Low | HicH
Serum
METHOD DiaSys Immuno Urine |“ M |“ B0
Plasma
CORR.. CSF
| stope | [ TER | Dialysis
Y= & b Other

Next Page Save Return




Для калибровки рекомендуется использовать набор калибраторов TruCal Albumin U/CSF производства компании DiaSys.

Концентрации калибраторов указаны во вкладыше к набору калибраторов.

Контроль правильности измерений рекомендуется проводить по контрольным сывороткам TruLab Albumin U/CSF, уровень 1 и уровень 2.

[image: image2.jpg]Item Name 4 MAIb

| B

Select Single for single reagent, Double for. double reagents system

Third

@

RiBlank | &

MONITOR

SPAN

0 LEVEL POINT

OFF CoN

Water-Blank " R1-Blank1

ASPIRATION DATA PROCESS
KIND | Single © Double READ ABSORBANCELIMIT
START |_END
VOLUME MAIN [52 I54 Low o
SAMPLE [0 SUB_ 29 31 HIGH [3
AREAGENTAIVOE 150 m
[NREAGENT2 RN [35

EACTOR

Blank correction[0.8511

ENDPOINT LIMIT 2
LINEAR CHECK(?)[0

Diluent | © 99:Dil1 © 10012
PROZONE CHECK
START LIMIT(%)
FIRST
SECOND [ | Clow Crgn

1 “low ¢ Hgh

Page : 2

Print

Prev Page | [ NextPage Save Return




[image: image3.jpg]Item Name 4 MAIb

Auto Rerun SW.

“ on « off

Auto Rerun Range (Result)

Con off  onf Off

Lower | Higher

Auto Rerun Condition (Absorbance)

Absorbance Range.

[ Lower | CoOnfof
[ Higher | C on® ofi
Prozone Range C on® off

Serum

Urine

Plasma
csF

Dialysis

Other.

Prev Page Save Return




