Билирубин прямой ФС (Bilirubin Auto Direct FS), биреагентный тест по конечной точке с дихлоранилином.

[image: image1.jpg]Item Name 21
Input range -9999.99 - 9999.99
DATA INFORMATION CALIBRATION
TYPE  [uincar ]
UNITS mkmoli
DECIMALS. |2 STANDARD
# 7 “
ANALYSIS n #
" L
TYPE en 5
Main W.length 1 [s4 - NORMAL RAN e TR
Sub Wilength2 o0 - LOW | HIGH | LOW | HIGH
Serum | 0 [34 fo. B
METHOD DiaSys DCA e T
Plasma
CORR. R
SLOPE INTER =
Dialysis
Y= X+ @b L
Other
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]Item Name 21 DBD

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS

KIND Single * Double READ ABSORBANCE LIMIT

—— START || END
MAN (2 4 o

SAMPLE  [15 suB a1 o ——
REAGENTIVOL [0 | pl

REAGENTZ 15

FacTOR ENDPOINT LIMIT 2

Blank correction [0.62 LINEAR CHECKED

Third Mix, | © OFF on
RiBlank | = Water-Blank  R1-Blank1 Diluent | 990i1 100012
MONITOR PROZONE CHECK
START | END LIMIT()
0 LEVEL POINT [1 FIRST | [ )
SPAN I3 SECOND | 3 * Low High
THIRD [ [ “low High

Page : 2 Print Prev Page | [ NextPage |[ save | [ Return





[image: image3.jpg]Item Name.

21 DBD.

Input range -9999.99 - 9999.99

Auto Rerun SW.

Auto Rerun Condition (Absorbance)

On “ off Absorbance Range
Lower on © ofr
‘Auto Rerun Range (Resulf) - .
Auto Rerun Range (Resull HIGRET ST
on © ofr
Higher, Prozone Range on © ofr
Serum fi71
Urine [ [
Plasma | [ [
CSF [ [
Dialysis [ [
other | [ [
Page : 3 PrevPage | [ Save | [ Retun





