Хлориды ФС, монореагентный тест по конечной точке с использованием тиоцианата.

[image: image1.jpg]Item Name 27

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TS o — TYPE  [uincar -
DECIMALS o STANDARD
# A
ANALYSIS o | | —
o |(— | —
TYPE e =
Main Wilength 1 [s0 < HORMAL RN T
Sub Wienghz | | LOW | HIGH LOW | HIGH
Serum [fe5  [105 o5 [105
METHOD [Thiocyanate —— | —_
Plasma ([ [ [ [
CORR. yr || I —
= SWFE | 5 4 LA Dialysis ([ [ [ [
__ N < 7 — ——
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]Item Name. 27 cID
Select Single for single reagent, Double for double reagents system
ASPIRATION DATA PROCESS
KIND | & Singid " Double READ ABSORBANCE LIMIT
[—" START || END
MAIN |52 4
SAMPLE 3 o SIS ;IOG"""
REAGENTIVOL 50
EACTOR ENDPOINT LIMIT 2
Blank correction 1 TR
Third Mix, | = OFF on
ution
Ri/Blank |  Water.Blank * R1.Blank1 Diluent | 9901 100012
TOIGE PROZONE CHECK
START | END LIMIT()
0 LEVEL POINT [1 FIRST |
spaN. B - SECOND, T | “tow [ Hgn
THIRD [ [ [ Clow [ High
Page : 2 Print Prev Page | [ NextPage |[ Save | [ Retumn





[image: image3.jpg]Item Name. 27 CID

Input range -9999.99 - 9999.99

Auto Rerun SW.

Auto Rerun Condition (Absorhance)

c - off Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) iher ——
on o | Con o
Lower Higher, Prozone Range on © ofr
Serum o [
Urine. [
(|
CSF f
Dialysis | [ |
Other [
PrevPage | [ Save | [ Retun





