Креатинкиназа МБ ФС, биреагентный кинетический тест в соответствии с рекомендациями DGKC и IFCC для КФК с ингибированием изофермента КФК-М поликлональными антителами.

[image: image1.jpg]PRESTIGE 24

[ckMBD]

Item Name 5

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TYPE  [Foctor ]
UNITS un
oECMALS i FACTOR 7082
ANALYSIS
TYPE RaTe =
Wain W.length 1 [s0 - NORMAL RAN G T
Sub Wiengthz [as - LOW | HIGH | LOW | HIGH
Seum 0 2 0 2
WETHOD Diasys — | I
Plasma
CORR, el T T
= SLOPE X+ ’n'"l Dialysis
U Other
Page : 1 [[NextPage |[ save | [ Retun





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]CKMBD,

Item Name. 5

Select Single for single reagent, Double for double reagents system

DATA PROCESS

ASPIRATION
KIND Single * Double READ ABSORBANCE LIMIT
— START || END
MAIN [355  [54 [
SAMPLE  [10 SuB 5 BT ;IOG""" ;
REAGENT1 VOL [190 ul )
REAGENTZ 15
EACTOR ENDPOINT LIMIT 0
Blank correction [1 LINEAR CHECKEATS
Third Mix. | = OFF on
ution
Ri/Blank |  Water.Blank ( R1-Blank1 Diluent | 9901 100012
e PROZONE CHECK
START | END LIMITCH)
0 LEVEL POINT [1 FIRST [
span B SECOND, T Flw
THRD [ [ [ | “Llew  Huh
Page : 2 Print Prev Page | [ NextPage |[  Save | [ Retumn





[image: image3.jpg]Item Name 5 CKMBD
Auto Rerun SW. Auto Rerun Condition (Absorbance)
Cr 9L Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — oo
on o |~ on o
T Higher Prozone Range on © ofr
Serum [ I
Urine. [ g |
Plasma | [
[ [ g |
Dialysis | [
Other [ g |
Page : 3 PrevPage | [ Save | [ Retun





