Креатинкиназа ФС (CK-NAC), биреагентный кинетический тест в соответствии с рекомендациями DGKC и IFCC.

[image: image1.jpg]PRESTIGE 24

Item Name 4

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TYPE  [Factor |
UNITS un
oECIMALS o FACTOR 4391
ANALYSIS
TYPE RaTe =
Main W.length 1 [s40 E HORMAL RANGF— - ERRE
Sub Wilength2 [ - LOW | HIGH | LOW | HIGH
Serum |0 171 o [125]
METHOD DiaSys NAC |
Plasma
CORR. | ————
= SLUHE X+ ’n'"l Dialysis
_ i Other
Page : 1 [[NextPage |[ save | [ Retun





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]CPK-D,

Item Name 4

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND Single * Double READ ABSORBANCE LIMIT
—— START || END
MAN (2 2
SAMPLE |10 SUB. [26 31 ;:)va 2
REAGENT1 VOL [190 L 2
REAGENTZ 15
FacTOR ENDPOINT LIMIT [0
Blank correction|1 LINEAR CHECKE[TE
Third Mix, | © OFF on
RiBlank | = Water-Blank  R1-Blank1 Diluent |« 99: 100012
GLITEE PROZONE CHECK
START | END LIMIT()
0 LEVEL POINT [1 FIRST | [ )
SPAN I3 SECOND | [ 3 * Low High
THIRD | I * Low High
Page : 2 Print Prev Page | [ NextPage |[ save | [ Return





[image: image3.jpg]PRESTIGE 2

Item Name 4 CPK-D
Auto Rerun SW. Auto Rerun Condition (Absorhance)
On * off Absorbance Range.
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — ot
on o | Con o
Lower Higher Prozone Range on & off
Serum I I
Urine [ [
Plasma | | I
CcSF f f
Dialysis | [
other [ f

Page : 3 PrevPage | [ Save | [ Retun





