Креатинин ФС, биреагентный кинетический тест по методу Яффе без депротеинизации.

[image: image1.jpg]Item Name 31 [CcreD
Input range -9999.99 - 9999.99
DATA INFORMATION CALIBRATION
TYPE  |Linear -
UNITS mkmoli
DECIMALS [0 STANDARD
Al
ANALYSIS n #
" "
TYPE RaTe 2
Wain W.Length 1 [s05 - R AL AN FEMALE
Sub Wilength 2 - LOW | HIGH | LOW | HIGH
Serum, | [53 Jo7 [e0 115
METHOD [DiaSys Jaffe T
Plasma
CORR, S | e
P SLOPE e ’n'"l Dialysis
= 1 Other
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]Cre-D,

Item Name. 34

Select Single for single reagent, Double for double reagents system

DATA PROCESS

ASPIRATION
KIND Single * Double READ ABSORBANCE LIMIT
START || END
VOLUME
SAMPLE  [10 ;IOG""" d
REAGENT1 VOL [190 i l2
REAGENTZ 15
EFacror ENDPOINT LIMIT [0
Blank correction|1 UINEAR CHECK(W[25
Third Mix, | © OFF on
ution
RiBlank | = Water-Blank  R1-Blank1 Diluent | 9901 100012
AT PROZONE CHECK
START | END LIMITCR)
0 LEVEL POINT [1 FIRST | [
SPAN 5 SECOND i * Low High
THIRD. [ T Flow  CHgh
Page : 2 Print Prev Page | [ NextPage |[ Save | [ Return





[image: image3.jpg]Item Name. 34 CreD.

Input range -9999.99 - 9999.99

Auto Rerun SW. Auto Rerun Condition (Absorhance)
© Si0n Absorbance Range
Lower on © ofr
g i
Auto Rerun Range (Resull —_— oo
on o |~ on o
Lower Higher Prozone Range on & off
Serum [ [1330
Urine || [ [
Plasma | [ [
CSF [ [
Dialysis | | [ [
other | [ [

Page : 3 PrevPage | [ Save | [ Retun





