С-реактивный белок. Иммунотурбидиметрическое определение, биреагентная схема.

[image: image1.jpg]Item Name 9 [cCRPD

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TWPE stz -]
UNITS mgil
DECIMALS n STANDARD
# e | m 142
ANALYSIS w |05 w279
w515 L
TYPE [en =
Main W.length 1 [3a0 =] HORMAL RANG e R
Sub Wilength2  [so0 LOW | HIGH LOW | HIGH

Serum | [0 /5 o 5

METHOD. [DiaSys Immuno T | ——
Plasma B
CORR. | ———
SLOPE INTER T
M=k il Other B .

Page : 1 [NextPage |[ save |[ Return |





Для калибровки рекомендуется использовать набор калибраторов TruCal CRP производства компании DiaSys.

Концентрации калибраторов указаны во вкладыше к набору калибраторов.

Контроль правильности измерений рекомендуется проводить по контрольным сывороткам TruLab Protein, уровень 1 и уровень 2, либо TruLab CRP.

[image: image2.jpg]CRP-D

Item Name. 9

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND Single * Double READ ABSORBANCE LIMIT
—— START || END
MAN 57 [54 ’
SAMPLE |12 SUB_[30 31 ,L‘:)va g
REAGENT1 VOL [190 L 3
REAGENTZ 35
EACTOR ENDPOINT LIMIT 2
Blank correction [0.8 LINEAR CHECKEAD
Third Mix. | = OFF on
ution
Ri/Blank |  Water.Blank ( R1-Blank1 Diluent | 9901 100012
e PROZONE CHECK
START | END LIMITCH)
0 LEVEL POINT [1 FIRST [
span B SECOND, T Flw
THIRD [ [ [ “low O High
Page : 2 Print Prev Page | [ NextPage |[  Save | [ Retumn





[image: image3.jpg]Item Name 9 CRP-D

Auto Rerun SW Auto Rerun Condition (Absorhance)
On  off Absorbance Range.
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — T
on o | Con o
Lower Higher Prozone Range on & off
Serum I I
Urine | [ [
Plasma | [ [
CSF [ [
Dialysis | || [
other | [ [

Page : 3 PrevPage | [ Save | [ Retumn





