Гамма-глутамилтрансфераза ФС, биреагентный кинетический тест по методике Зейца.

[image: image1.jpg]Item Name. 33

GGT-D

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TYPE  [Factor =
UNITS E
DECIMALS. [i FACTOR 2685
ANALYSIS
TYPE [raTe =
Hain W.length 1 [205 = HORMAL RN FEELE
Sub Wilength 2 = LOW | HIGH | LOW | HIGH
Serum | [0 55 o 38
METHOD, [DiaSys Zzasz T ———
Plasma | |
CORR. e —
o i . INTER, Dialysis ([ | [ [
=l I Other
Page : 1 [[NextPage |[  save | [ Retun





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]Item Name 33 GGT-D
Select Single for single reagent, Double for double reagents system

ASPIRATION
KIND. Single * Double
VOLUME
SAMPLE  [10
REAGENTIVOL [190 ul
REAGENTZ 15
Third Mix, | © OFF on

RiBlank |  Water-Blank  R1-Blank1

DATA PROCESS

READ ABSORBANCE LIMIT
START || END
MAIN 57 7] Low
SUB I HIGH
EACTOR ENDPOINT LIMIT [0

Blank corraction LINEAR CHECK(#)]15

ut
Diluent | = 99:Dil1 100i12

n

PROZONE CHECK

MONITOR
START | END LIMITCR)
0 LEVEL POINT [1 pRstd [
SPAN 5 SECOND| | | | “low High
THIRD [ [ S low High
Page @ 2 Print Prev Page | [ NextPage |[ Save | [ Return





[image: image3.jpg]Item Name

3 GGT-D

Auto Rerun SW.

Auto Rerun Condition (Absorhance)

On - off Absorbance Range.
Lower on © ofr
Auto Rerun Range (Resulq i
Auto Rerun Range (Resull IR T
on o |~ on o
Lower her Prozone Range on © ofr
Seum | [ [
Urine [
Plasma | [ [
CSF [
Dialysis | | [
Other [
Page : 3 PrevPage | [ Save | [ Retun





