Глюкоза (ОКС) ФС, монореагентный глюкозооксидазный метод по конечной точке.

[image: image1.jpg]| PRESTIGE 24i

Item Name. 17

Input range -9999.99 - 9999.99

DATA INFORMATION

UNITS mmolfl

DECIMALS |2
ANALYSIS
TYPE eno =
Main W.Length 1 [s0s <
Sub Wilength2 100 =]

METHOD DiaSys PAP

CALIBRATION
TYPE  [Linear -
STANDARD.
#1108 #
w #

# #

NORMAL RANGF
MALE FEMALE

LOW | HIGH  LOW | HIGH

Seum |39 o4 B 64
Urine | [
Plasma

CORR, — ————
SLOBE INTER bialysis [ | [ |
=S K& G
£ i b Other | [
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]Item Name.

7 GluD,

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND_ | & Singid " Double READ ABSORBANCE LIMIT
—— START || END
MAIN 52 54 f
SAMPLE  [3 ol SB[ ;:)va 0
REAGENTIVOL 50 s
ENDPOINT LIMIT 2
LINEAR CHECK(%)[0
Third “ OFF on
RiBlank | © Water.Blank * R1.Blank1 uent |~ 990i1 100012
G PROZONE CHECK
START | END LIMITCh)
0 LEVEL POINT [1 FIRST [
span B = SECOND, [ | “tow [ Hun
THIRD [ [ f ~ Slow  Hgh
Page : 2 Print Prev Page | [ NextPage |[  Save | [ Retun





[image: image3.jpg]Item Name. 17 GluD.

Input range -9999.99 - 9999.99

Auto Rerun SW Auto Rerun Condition (Absorhance)
Cr GO Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — T
on o | Con o
Lower Prozone Range on & off
Serum | | [0
Urine | [ [
Plasma | [ [
CSF [ [
Dialysis | || [
other | [ [

Page : 3 PrevPage | [ Save | [ Retumn





