Глюкоза ГК ФС, биреагентный гексокиназный метод по конечной точке.

[image: image1.jpg]PRESTIGE 24

19| [EHR

Item Name

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
i o TYPE  [Lincar -
DECIMALS A STANDARD
# s | @
ANALYSIS - | | —
o | |
TYPE enp =
Main W.length 1 [3a0 - NORMAL RAN G TEREID
Sub Wilength2 380 - LOW | HIGH | LOW | HIGH
Serum (39 64 PBs 64
METHOD DiaSys HK T — ———
Plasma ([ [ [ [
CORR, T | N —
= SLOPE X+ ’ﬁ pialysis [ | [ [
=l B oher [ [ [ [
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]GIHK.

Item Name 19

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND Single * Double READ ABSORBANCE LIMIT
—— START || END
MAIN 52 [54 T
SAMPLE |3 SUB [30 31 HIGH iia
REAGENTIVOL oo | pl
REAGENTZ 15
FacTOR ENDPOINT LIMIT 2
Blank correction 0. e
Third Mix, | © OFF on
RiBlank | = Water-Blank  R1-Blank1 Diluent |« 99: 100012
GLITEE PROZONE CHECK
START | END LIMIT()
0 LEVEL POINT [1 FIRST | [ )
SPAN I3 SECOND | [ 3 * Low High
THIRD | I * Low High
Page : 2 Print Prev Page | [ NextPage |[ save | [ Return





[image: image3.jpg]Item Name 19 GIHK.

Input range -9999.99 - 9999.99

Auto Rerun SW.

Auto Rerun Condition (Absorbance)

On “ off Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulf) F 5
Auto Rerun Range (Resull OGRET ST
on o |~ on o
Lower Higher, Prozone Range on © ofr
Serum 50
Urine I
Plasma || [
CSF [ [
Dialysis |
Other. [
Page : 3 PrevPage | [ Save | [ Retun





