ЛПВП – холестерин иммуно ФС, биреагент, прямое определение по конечной точке.

[image: image1.jpg]Item Name. 7

Input range -9999.999 - 9999.999

DATA INFORMATION CALIBRATION
i ol TYPE  [uincar -
DECIMALS A STANDARD
#M [13s @
ANALYSIS o | |
|| —
TYPE en 5
MainWiength 1 [0 -] LT MALE FEMALE
Sub Wilength2 700 - LOW | HIGH | LOW | HIGH
Seum (08 B o B
METHOD DiaSys Immuno T ———
Plasma ([ [ [ [
CORR. R
= SLOPE X+ ’ﬁ pialysis [ | [ |
- < oher [ [ [ [
[[NextPage |[ save | [ Retun

Page : 1





Концентрация стандарта указана для мультикалибратора TruCal HDL / LDL производства компании DiaSys, лот № 5814

[image: image2.jpg]HDL-D

Item Name 7

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND Single = Double READ ABSORBANCE LIMIT
START || END
VOLUME Tl Il —
SAMPLE 3 R I
SUB 30 &l i
REAGENT1 VOL [200 nl
REAGENTZ 15
EacTOR ENDPOINT LIMIT 2
Blank correction [0 .
Third “ OFF on
RiBlank | * Water-Blank (* R1.Blank1 Diluent | 9901 100012
IR PROZONE CHECK
START | END. LIMITCH)
0 LEVEL POINT [1 FIRST
span 3 = SECOND | [ | “tow g
THIRD [ [ fiw High
Page : 2 Print Prev Page |[ NextPage |[ Save | [ Retumn





[image: image3.jpg]Item Name 7 HDLD

Input range -9999.99 - 9999.99

Auto Rerun SW. Auto Rerun Condition (Absorbance)
On “off Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — e
on o |~ on o
Lower Higher, Prozone Range on © ofr
Serum
Urine. [
Plasma | | I
cerl | [
Dialysis | | [ I
Other [ g |
Page : 3 PrevPage | [ Save | [ Retun





