Иммуноглобулин А ФС. Иммунотурбидиметрическое определение, биреагент.

[image: image1.jpg]Input range -9999.99 - 9999.99

DATA INFORMATION - CALIBRATION

TYPE  [Logitz E

UNITS an
DECIMALS > STANDARD
#1 |09 w34
ANALYSIS w T w783
w202 #
TYPE eno <

NORMAL RANGF

Main W.length 1 [s70 < TR EREE
Sub Wilength 2 - LOW_| HIGH | LOW | HIGH
Serum
METHOD DiaSys immuno —
Plasma
CORR, CSF
SLOPE INTER] Dialysis
Y = X+ o o
er

Page : 1 Next Page Save Return





Для калибровки рекомендуется использовать набор калибраторов TruCal Protein производства компании DiaSys.

Концентрации калибраторов указаны во вкладыше к набору калибраторов.

Контроль правильности измерений рекомендуется проводить по контрольным сывороткам TruLab Protein, уровень 1 и уровень 2.

[image: image2.jpg]Item Name 2 IgA

Select Single for single reagent, Double for. double reagents system

ASPIRATION

SAMPLE

REAGENT1 VOL.

Thi g

RiBlank | &

MONITOR

SPAN

REAGENT2

0 LEVEL POINT

DATA PROCESS
KIND | Single © [Doublel READ — ABSORBANCE LIMIT
START = END
MAIN [52 /54 Low
SUB CHIGH |
51 u 30 31 [ HIGH |
160

OFF CoN

Water-Blank " R1-Blank1

EACTOR—— 1 ENppOINT LIMIT J2
Blank correction(0.8391 LINEAR CHECK(AJ0

 9gin & 100012

PROZONE CHECK

START

LIMIT()

[ Clow GHign
T Clow & High

FIRST
SECOND

Page : 2

Print

Prev Page | [ NextPage Save Return





[image: image3.jpg]Item Name 2 IgA

Auto Rerun SW-——— - Auto Rerun Condition (Absorbance)
< on “loft Absorbance Range.
Lower C on® off
Auto Rerun Range (Result)
Auto Rerun Range (Result TR C On Off
Conoff onf off
Lower | _ Higher Prozone Range Con® off

Page : 3 Prev Page Save Return





