Лактатдегидрогеназа ФС, биреагент, кинетический DGKC метод.

[image: image1.jpg]Item Name £ Lot-D)
Input range -9999.99 - 9999.99
DATA INFORMATION CALIBRATION
TYPE  [Factor |
UNITS un
DECMALS o FACTOR | 12650
ANALYSIS
TYPE RaTe =
Main W.length 1 [340 ~ HORMAL RAN Gy FEMALE
Sub Wilengthz 405 LOW | HIGH  LOW | HIGH
. Serum | o 480 o [180
METHOD, [pexe ——{ ;
Plasma [
CORR, S [ e e
= SLOPE X+ ’n'"l Dialysis [
- Other [
Page @ 1 [NextPage |[ save | [ Retumn





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]PRESTIGE 2:

LDH-D

Item Name. 32

| | E

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND Single = Double. READ ABSORBANCE LIMIT
— START || END
wAN 7 4 o
SAMPLE 3 ST e
REAGENTIVOL oo | pl
REAGENTZ 15
EACTOR ENDPOINT LIMIT 0
Blank correction [1 LINEAR CHECKEATE
Third Mix. | = OFF on 5
RiBlank | = Water.Blank ( R1.Blank1 Diluent | 99: 2
e PROZONE CHECK
START | END LIMIT()
0/LEVEL POINT FIRST |
SPAN SECOND | * Low High
THIRD [ [ [ “low [ High
Page @ 2 Print Prev Page | [ NextPage |[ Save | [ Retumn





[image: image3.jpg]Item Name 2 LDH-D
Auto Rerun SW. Auto Rerun Condition (Absorhance)
On  off Absorbance Range
Lower “on o
Auto Rerun Range (Resulq F
Auto Rerun Range (Resull T— P
on o |~ on o
E5ER Higher Prozone Range on © ofr
serum | [
Urine | [
Plasma | [
CcSF [
Dialysis |
other | [
PrevPage | [ Save | [ Retun





