ЛПНП – холестерин селект ФС, прямое определение по конечной точке.

[image: image1.jpg]Item Name ‘3|LoL-0]
Input range -9999.99 - 9999.99
DATA INFORMATION CALIBRATION
TYPE  [uinear |
UNITS mmolfi
DECIMALS |2 STANDARD
#[295 “
ANALYSIS m #
" L
TYPE en =
Main W.Length 1 [600 - ORI AN eI
Sub Wilength2 100 LOW | HIGH = LOW | HIGH
Serum | 1 a1 [t X]
METHOD Direct S i T [
Plasma I [
CORR, S [ e e
= SLOPE X+ ’n'"l Dialysis [
- Other [
Page @ 1 [NextPage |[ save | [ Retumn





Концентрация стандарта указана для мультикалибратора TruCal HDL / LDL производства компании DiaSys, лот № 5814

[image: image2.jpg]LDLD

Item Name 8

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND Single = Double READ ABSORBANCE LIMIT
START || END
VOLUME Tl S —
SAMPLE 3 R I
SUB 30 & i
REAGENT1 VOL [200 nl
REAGENTZ 15
EacTOR ENDPOINT LIMIT 2
Blank correction 08165 .
Third “ OFF on
RiBlank | * Water-Blank (* R1.Blank1 Diluent | 9901 100012
IR PROZONE CHECK
START | END. LIMITCH)
0 LEVEL POINT [1 FIRST
span 3 = SECOND | [ | “tow g
THIRD [ [ fiw High
Page : 2 Print Prev Page |[ NextPage |[ Save | [ Retumn





[image: image3.jpg]Item Name.

8 LDL-D

Input range -9999.99 - 9999.99

Auto Rerun SW.

Auto Rerun Condition (Absorhance)

On “off Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — e
on o |~ on o
Lower Higher, Prozone Range on © ofr
Serum ;
Urine. [
Plasma | | I
[ [ g |
Dialysis | | [ I
Other [ g |
Page : 3 PrevPage | [ Save | [ Retun





