Амилаза панкреатическая ФС, биреагент, кинетический метод с EPS-G7.
[image: image1.jpg]Item Name 3

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TYPE Factor ~
UNITS un
DECIMALS ] FACTOR 5200
ANALYSIS
TYPE RATE -
Main W.Length 1 [405 = NORMAL RANGE T T
Sub W.length 2 fal Low HIGH Low HIGH
Serum o 53 o 53
METHOD DiaSys EPS-G7 Urine o e o Bw
Plasma [
CORR. CSF |
= JLUTE X + 0 INTER Dialysis. |
= Other T
Page : 1 [[NextPage |[ save | [ Retun





Значение фактора рекомендуется проверять по контрольным сывороткам TruLab N и TruLab P производства компании DiaSys.

[image: image2.jpg]Item Name. 3 P-amD
Select Single for single reagent, Double for double reagents system
ASPIRATION DATA PROCESS
KIND Single = Double READ ABSORBANCE LIMIT
— START || END
SAMPLE [+ R 1 Loy [
ST I HIGH |2
REAGENTI VOL [700 ul
REAGENTZ 15
EacToR ENDPOINT LIMIT [0
Blank correction 1 .
Third Mix, | = OFF on
RiBlank | * Water-Blank (* R1.Blank1 Diluent | 9901 100012
TR PROZONE CHECK
START | END. LIMITCH)
O LEVEL POINT [1 FIRST
span 3 = SECOND | [ | “tow g
THRD [ [ [ | “Llew C Hgh
Page : 2 Print Prev Page | [ NextPage |[ sSave | [ Retumn





[image: image3.jpg]Item Name 3 P-amD
Auto Rerun SW. Auto Rerun Condition (Absorbance)
Cr 9L Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — oo
on o |~ on o
T Higher Prozone Range on © ofr
Serum [ I
Urine. [ g |
Plasma | [
[ [ g |
Dialysis | [
Other [ g |
PrevPage | [ Save | [ Retun




P-amyl   Панкреатическая    

