Фосфор ФС, монореагент, конечная точка.

[image: image1.jpg]Item Name.

23 Pro DI

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TYPE  [lnear <]
UNITS mmolfi
DECIMALS I STANDARD
#M [163 @
ANALYSIS P 0 O
G | —
TYPE en =
MainWiength [s0 -] HOHNAL Ratto MALE FEMALE
Sub Wiength2 [0 <] LOW | HIGH | LOW | HIGH
Serum 084 [145  [osa  [145
METHOD o uine ([ [ | [
Plasma ([ [ [ [
CORR. esemml
= SLOPE X+ ’ﬁ Dialysis [ | [ [
- n oter [ [ [ [
Page @ 1 [NextPage |[ save | [ Retumn





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]Item Name 2 Pho-D,

Select Single for single reagent, Double for double reagents system

ASPIRATION
KIND_ | & Singie. * Double

VOLUME
SAMPLE |3

REAGENT1 VOL [250 u
Third Mix. | = OFF oN
RiBlank | C Water-Blank © R1-Blank1

MONITOR

0 LEVEL POINT [1

DATA PROCESS
READ ABSORBANCE LIMIT
START || END
MAINL[5; 4 Low o
SUB 9 10 HIGH [
EACTOR ENDPOINT LIMIT 2
Blank correction 1 LINEARCHECKEHIT

ut

n
Diluent | = 99:Dil1 100i12

PROZONE CHECK

START | END, LIMIT(S)

FIRST [

SPAN 5 SECOND ] g * Low High
THIRD [ [ Flow High
Prev Page | [ NextPage |[  Save | [ Retumn

Page : 2 Print





[image: image3.jpg]PRESTIGE 2

Item Name 2 Pho-D

Input range -9999.99 - 9999.99

Auto Rerun SW. Auto Rerun Condition (Absorhance)
Or caOf Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resul) — ot
on o | Con o
Lower Higher Prozone Range on & off
seum | | [0 5
Urine I I
Plasma | [ f
CcSF f f
Dialysis || f
Other. I

Page : 3 PrevPage | [ Save | [ Retun





