Ревматоидный фактор ФС, иммунотурбидиметрическое определение, биреагентная схема.

[image: image1.jpg]ftemName (| 9 [rF

Input range -9999.99 - 9999.99

DATAINFORMATION — CALIBRATION
TYPE  [legtz -]
UNITS 1smi —_
DECIMALS o STANDARD
#_ |50 w[B50
ANALYSIS n |00 w100
w200 "
TYRE e B
Main W.length 1 [s30 < RN RN EEE
Sub Wiengh2 | =] LOW | HIGH | LOW | HIGH
Serum | fo 10 0 10
METHOD DiaSys Immuno T
Plasma
CORR. sk
_SLopE | | | DT
Y= &&d b Other

Page : 1

Next Page Save Return





Для калибровки рекомендуется использовать набор калибраторов TruCal RF производства компании DiaSys.

Концентрации калибраторов указаны во вкладыше к набору калибраторов.

Контроль правильности измерений рекомендуется проводить по контрольным сывороткам TruLab Protein, уровень 1 и уровень 2.

F

[image: image2.jpg]Item Name 9 RF

Select Single for single reagent, Double for. double reagents system

Third g

RiBlank | &

MONITO!

SPAN

0 LEVEL POINT

OFF CoN

Water-Blank " R1-Blank1

ASPIRATION DATA PROCESS
KIND | Single © Double READ ABSORBANCELIMIT
I spur | Ew
VOLUME MAIN [52 I54 Low o
SAMPLE [0 SUB_ 29 31 HIGH [3
AREAGENTAIVOE 150 m
[NREAGENT2 RN [35

EACTOR

Blank correction[0.8511

ENDPOINT LIMIT 2
LINEAR CHECK(?)[0

Diluent | o9t © 10002
PROZONE CHECK
START LIMIT(%)
FIRST
SECOND Low  C High

1 “low ¢ Hgh

Page : 2

Print

Prev Page | [ NextPage Save Return




[image: image3.jpg]Item Name 9 RF

Auto Rerun SW.

“ on « off

Auto Rerun Range (Result)

C on off  onf Off

Lower | | Higher

Auto Rerun Condition (Absorbance)

Absorbance Range.

[ Lower | CoOn®ofi
[ Higher |  on® off
Prozone Range C on® off

Prev Page Save Return




