Общий белок ФС, биреагент, измерение по конечной точке биуретовым методом.

[image: image1.jpg]Item Name 14

Input range

-9999.99 - 9999.99

DATA INFORMATION

UNITS Jon
DECIMALS i

ANALYSIS
TYPE [Eno -l

Main W.length 1 [s4 <
Sub W.length2  [100 -

CALIBRATION
TYPE  [Lincar -]
STANDARD
# 52.7 3
w | #
w | #
NORMAL RANGF
MALE FEMALE
LOW | HIGH  LOW | HIGH

66 e8 66 ()

Serum
METHOD |DiaSys Biuret e
Plasma I
CORR. CSF T 0
SLOPE INTER T |
=5 X+ b ysi r
¥ . J Other '
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]ltem Name L TP-D2
Select Single for single reagent, Double for double reagents system
ASPIRATION DATA PROCESS
KIND Single * Double READ ABSORBANCE LIMIT
— START || END
MAIN 52 54 f
SAMPLE 5 - Low o
! SUB [ a1 T —
REAGENTI VOL [700 ul
REAGENTZ s
EacToR ENDPOINT LIMIT 2
Blank correction 0.8039 e e T
Third “ OFF on
RiBlank | * Water.Blank ( R1.Blank1 uent |~ 990i1 100012
G PROZONE CHECK
START | END LIMITCh)
0 LEVEL POINT [1 FIRST [
span B = SECOND, [ | “low Hun
THIRD [ f ~ Slow  Hgh
Page : 2 Print Prev Page | [ NextPage |[  Save | [ Retun





[image: image3.jpg]Item Name.

1 TP-D2

Input range -9999.99 - 9999.99

Auto Rerun SW.

Auto Rerun Condition (Absorbance)

On “ off Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq .
Auto Rerun Range (Resull HIGRET o
on © ofr
Higher, Prozone Range on © ofr
Serum [150
Urine | [ [
Plasma | [ [
CSF [ [
Dialysis | || [
other | [ [
Page : 3 PrevPage | [ Save | [ Retun





