Общий белок ФС, измерение по конечной точке биуретовым методом по монореагентной схеме.

[image: image1.jpg]Item Name 15

Input range

-9999.99 - 9999.99

DATA INFORMATION

UNITS Jon
DECIMALS i

ANALYSIS
TYPE [Eno -l

Main W.length 1 [s4 <
Sub W.length2  [100 -

CALIBRATION
TYPE  [Lincar -]
STANDARD
L TX] 3
w | #
w | #
NORMAL RANGF
MALE FEMALE
LOW | HIGH  LOW | HIGH

66 e8 66 ()

Serum
METHOD. |DiaSys biuretmono e
Plasma I
CORR. CSF T 0
SLOPE INTER T |
=5 X+ b ysi o
¥ . J Other '
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]TP-D1

Item Name. 15

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND_ | & Singied " Double READ ABSORBANCE LIMIT
— START || END
MAN 52 4 —
SAMPLE 4 u 17— ;IOG""" 0
REAGENT1 VOL 200 B
EacToR ENDPOINT LIMIT 2
Blank correction 1 SRR
Third Mix, | = OFF on
RiBlank |  Water.Blank © R1.Blank1 Diluent | sg:0ilt 0002
TR PROZONE CHECK
START | END. LIMITCH)
O LEVEL POINT [1 FIRST
span 3 = SECOND [ [ | “tow g
THIRD [ [ [ “low  High
Page @ 2 Print Prev Page | [ NextPage |[ sSave | [ Retumn





[image: image3.jpg]Item Name 15 TP-D1

Input range -9999.99 - 9999.99

Auto Rerun SW. Auto Rerun Condition (Absorhance)
On * off Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq F
Auto Rerun Range (Resull T— P
on o |~ on o
E5ER Higher Prozone Range on © ofr
Serum [150
Urine I
Plasma | [ I
CcSF [ I
Dialysis | F
Other. [ |

Page : 3 PrevPage | [ Save | [ Retun





