Триглицериды ФС, монореагент, конечная точка.

[image: image1.jpg]Item Name

z

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
TS o TYPE  [uincar -
DECIMALS - STANDARD
#M 52 @
ANALYSIS = | |
o | | —
TYPE e =
Main W.Length 1 [s05 - HORMAL RN TR
Sub Wiength2 Jooo - LOW | HIGH LOW | HIGH
Seum (07 R3 7 @3
METHOD, [DiaSys PAP T — —
Plasma ([ [ [ [
CORR. (57 || I N —
= SLOPE Pees ’ﬁ Dialysis [ [ [ [
= 2 oter ([ [ [
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]Item Name 2 TgD

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND_| © Singie  Double READ ABSORBANCE LIMIT
ST START | END
MAIN 52 54 —
SAMPLE |3 "l ST ;:)va P
REAGENT1 VOL [200 g
FACTOR ENDPOINT LIMIT 2
Blank correction [1 LINEAR CHECKEAD
Third Mix, | © OFF on
ution
RiIBlank | " Water.Blank * R1.Blank1 Diluent | 9901 100012
IR PROZONE CHECK
START | END LIMIT(h)
OLEVEL POINT [1 FIRST | I
span 3 = SECOND | [ | “tow [ High
THIRD [ | | Ciow  Hgn
Page @ 2 Print Prev Page | [ NextPage |[  Save | [ Retun





[image: image3.jpg]Item Name. 28 TgD

Input range -9999.99 - 9999.99

Auto Rerun SW.

Auto Rerun Condition (Absorhance)

On * off Absorbance Range
Lower On * off
Auto Rorun Range (Resull i
Auto Rerun Range (Result Higher “on © off
on o |~ on on
Lower Higher Prozone Range On * Off
Serum o 113
Urine
Plasma
CSF
Dialysis
Other.
PrevPage | [ Save | [ Retun

Page : 3





