Трансферрин ФС. Иммунотурбидиметрическое определение, биреагент.

[image: image1.jpg]Item Name 12 T

Input range -9999.99 - 9999.99

DATA INFORMATIO!

CALIBRATION

TYPE  [Logitz E
STANDARD.

#1_[J0.36 295
n |b72 w |58t
m |15 L

NORMAL RANGF

MALE FEMALE

LOW | HIGH | LOW

HIGH

Serum

UNITS g1
DECIMALS |
ANALYSIS
TYPE eno E
Main W.Length 1 [s70 <
Sub Wilength 2 -
METHOD DiaSys Immuno
CORR.
SLOPE INTER
Y = X+ b

Urine.

Plasma

CSF

Dialysis

Other,

Page : 1

Next Page Save Return





Для калибровки рекомендуется использовать набор калибраторов TruCal Protein производства компании DiaSys.

Концентрации калибраторов указаны во вкладыше к набору калибраторов.

Контроль правильности измерений рекомендуется проводить по контрольным сывороткам TruLab Protein, уровень 1 и уровень 2.

Трансферрин Transferrin
[image: image2.jpg]Item Name 12 Tif

Select Single for single reagent, Double for. double reagents system

ASPIRATION DATA PROCESS
KIND | Single  Doubie READ ABSORBANCE LIMIT
START |_END
ARVOCUMER] WA 52 [ou ToWRG
SAMPLE |3 [ Low |
SUB_ 29 31 HGH |5
REAGENTA VOL 750 il ||
REAGENT2 (50 |
EACTOR ENDPOINT LIMIT [2
Blank correction|0.835 LINEAR CHECKEIT
Th © oFF Con
Ri Blank |  Water-Blank (" R1.Blank1 Diluent | 99t © 100012
I PROZONE CHECK
START LIMIT(%)
0 LEVEL POINT [1 FIRST
span |3 SECOND. [ [ Clow CHin

1 “low ( Hgh

Page : 2

Print

Prev Page | [ NextPage Save Return




[image: image3.jpg]Item Name 12 Tif

Auto Rerun SW.

“ on « off

Auto Rerun Range (Result)

C on off  onf Off

Lower | | Higher

Auto Rerun Condition (Absorbance)

Absorbance Range.

[ Lower | CoOn®ofi
[ Higher |  on® off
Prozone Range C on® off

Serum

Urine

Plasma
csF

Dialysis

Other.

Prev Page Save Return




