Мочевая кислота ФС, биреагент, конечная точка.

[image: image1.jpg]Item Name. 12

Input range -9999.99 - 9999.99

DATA INFORMATION CALIBRATION
e T TYPE  [uincar -
DECIMALS o STANDARD
I - | E—
ANALYSIS Bl O O
| | —
TYPE en =
Main W.iength 1 [s4 =l NORMAL RANG FETTAE
Sub Wiengthz | <] LOW | HIGH  LOW | HIGH
Serum 214 [a88  [137  [363
HETHOD [Diasys T00S =i —
Plasma ([ | [ [
G CSF I
= SLUPE e ’ﬁ pialysis [ | [ |
= H oter [ [ [ [
Page : 1 [[NextPage |[ save | [ Retun





Концентрация стандарта указана для мультикалибратора TruCal U производства компании DiaSys, лот № 5269

[image: image2.jpg]UA-D

Item Name 12

Select Single for single reagent, Double for double reagents system

ASPIRATION DATA PROCESS
KIND_ | Single © Double READ ABSORBANCE LIMIT
- START || END
MAIN 52 [54 T
SAMPLE |4 SUB [30 31 [T —
REAGENTIVOL oo | pl
REAGENTZ 15
FacTOR ENDPOINT LIMIT 2
Blank correction 0.8193 DRERRCHER
Third Mix, | © OFF on
RiBlank | = Water-Blank  R1-Blank1 Diluent |« 99: 100012
GLITEE PROZONE CHECK
START | END LIMIT()
0 LEVEL POINT [1 FIRST | [ )
SPAN I3 SECOND | [ 3 * Low High
THIRD | I * Low High
Page : 2 Print Prev Page | [ NextPage |[  save | [ Return





[image: image3.jpg]Item Name.

12 UAD

Input range -9999.99 - 9999.99

Auto Rerun SW.

Auto Rerun Condition (Absorbance)

On “ off Absorbance Range
Lower on © ofr
Auto Rerun Range (Resulq -
Auto Rerun Range (Resull HGRER e
on o | Con o
Lower Higher Prozone Range on © ofr
Serum o [1190
Urine f
Plasma f
CSF f
Dialysis [
Other I
Page : 3 PrevPage | [ Save | [ Retun





